
[image: image1.emf]3

Optical Coupling Gives Concentrating 

Effect

•

1.5X Concentration

–

Optical coupling agent (OCA) between 

tubes acts as a lens to concentrate light 

from any direction

–

Tube within a tube design means less PV 

material required; reduces 

manufacturing cost



[image: image2.emf]4

What’s Inside the Tubes?

•

CIGS Thin Film: Copper, Indium, Gallium and Selenium (Diselenide)

•

Film divided into ~150 cells using cutting lasers

•

Cells are connected in series by internal conduction layers

•

High Voltage/Low Current (more kWh/Area) relative to C-Si solar panels


3

Optical Coupling Gives Concentrating Effect

1.5X Concentration

Optical coupling agent (OCA) between tubes acts as a lens to concentrate light from any direction

Tube within a tube design means less PV material required; reduces manufacturing cost









11/14/2009 1:41 PM

S_KMLEWIS\Templates\White Background Template v2.ppt

3





image1.png

Inner tube with CIGS
cell on outside

Optical coupling agent
Quter tube








Optical Coupling Gives Concentrating

o Effect






4

What’s Inside the Tubes?

CIGS Thin Film: Copper, Indium, Gallium and Selenium (Diselenide)

Film divided into ~150 cells using cutting lasers

Cells are connected in series by internal conduction layers

High Voltage/Low Current (more kWh/Area) relative to C-Si solar panels









image1.png







image2.png









What's Inside the Tubes?






