[image: image1.png]


Solar Laminate PVL-Series
Model: PVL-136
[image: image2.png]


•
High Temperature and Low Light Performan
•
20 Year Warranty on Power Output at 80%
•
Quick-Connect Terminals*
•
Bypass Diodes for Shadow Tolerance
•
UL Listed to 600 VDC
•
Meets IEC 61646 Requirements
PERFORMANCE CHARACTERISTICS
Rated Power (Pmax): 136W Production Tolerance: ± 5%
CONSTRUCTION CHARACTERISTICS
Dimensions:  Length: 5486mm (216”), Width: 394mm (15.5”), Depth: 4mm (0.2”), 16mm (0.6”) including junction box.
[image: image3.png]


Weight:  7.7 kg (17.0 lbs.).
Output Cables:  ~2.5mm2  cable with weatherproof DC rated quick-connect terminals* 560mm (22”) length.
By-pass Diodes:  Connected across every solar cell.
Laminate Encapsulation:  Durable ETFE (e.g. Tefzel®) high light-transmissive polymer.
Adhesive:   Ethylene propylene copolymer adhesive-sealant with microbial inhibitor.
Cell Type:  22 triple junction amorphous silicon solar cells 356 x 239mm (14” x 9.4”) connected in series.
QUALIFICATIONS AND SAFETY
Listed by Underwriter’s Laboratories for electrical and fire safety (Class A Max. Slope 2/12, Class B Max. Slope 3/12,
and Class C Unlimited Slope fire ratings) for use in systems up to 600
VDC.
LAMINATE STANDARD CONFIGURATION Photovoltaic laminate with potted terminal
housing assembly with output cables and quick connect terminals*.
OPTIONAL CONFIGURATION Photovoltaic laminate with junction box.
*e.g., Multi-Contact (MC®) connectors.

APPLICATION CRITERION
•
New or other qualified roof installations
•
16” minimum steel pan width
•
PVDF Coated (Galvalume®  or Zincalume®
steel metal pan)
•
Steel pans with flat surface (without pencil beads, stiffening ribs, or decorative stippling)
•
Installation by certified installers only
•
Installation temperature between 10ºC -

40ºC (50ºF - 100ºF)
•
Maximum roof temperature 85ºC (185ºF)
•
Refer to manufacturer’s installation guide for approved substrates & installation methods
IV Curves at various levels of irradiance at
Air Mass 1.5 and 25° C Cell Temperature
[image: image4.png]803 3



STC (1000 W/m2)

800 W/m2
600 W/m2
400 W/m2
200 W/m2


PVL-136
All measurements in mm. Inches in parentheses.
Tolerances Length: ± 5mm (1/4”) Width: ± 3mm (1/8”)
ELECTRICAL SPECIFICATIONS: STC (1000 W/m², AM 1.5, 25º C Cell Temperature) Maximum Power (Pmax):  136 W
Voltage at Pmax (Vmp):  33.0 V
Current at Pmax (Imp):  4.1 A Short-circuit Current (Isc):  5.1 A
Open-circuit Voltage (Voc):  46.2 V
Maximum Series Fuse Rating:  8 A

NOCT
(800 W/m², AM 1.5, 1 m/sec. wind) Maximum Power (Pmax):  105 W Voltage at Pmax (Vmp):  30.8 V Current at Pmax (Imp):  3.42 A Short-circuit Current (Isc):  4.1 A Open-circuit Voltage (Voc):  42.2 V NOCT:  46° C
TEMPERATURE COEFFICIENTS
(at AM 1.5, 1000 W/m² irradiance)
Temperature Coefficient of Isc:  5.1mA/K
Temperature Coefficient of Imp:  4.1mA/K
Temperature Coefficient of Voc:  -176mV/K
Temperature Coefficient of Vmp:  -102mV/K
Temperature Coefficient of Pmax:  -286mW/K
Data  Sheet





ce














�








�











�








�















































